## FO
First order uncertainty based on cold climate heat pump data used in Christian's thesis
Measured property | Uncertainty, average | Uncertainty, 95% | Uncertainty, max, data
Suction pressure [0-1724 kPa] | 0.86 | 1.1 | 2.83
Discharge pressure [0-3447 kPa] | 0.36 | 0.5 | 1.33
Suction temperature | 0.019 | 0.027 | 0.064
Discharge temperature | 0.032 | 0.047 | 0.15
Mass flowrate | 0.11% | 0.16% | 0.46%

## Sensors
Sensor uncerainties for differnet choice of sensors
| Options | Suction pressure | Discharge pressure | Temperature | Mass flowrate | Internal comment (suction pressure) | Internal comment (discharge pressure)
1 | Option 1 name | Economy | Economy | Thermocouple, low acc | Coriolis, economy | Setra 206/207, 250 PSI | Setra 206/207, 500 PSI
1 | Option 1 accuracy | 2.2412 | 4.4811 | 1.12 | 0.5%
2 | Option 2 name | Improved accuracy | Improved accuracy | Thermocouple, high acc | Coriolis, moderate accuracy | Setra 280, 250 PSI | Setra 280, 500 PSI
2 | Option 2 accuracy | 1.8964 | 3.7917 | 0.55902 | 0.15%
3 | Option 3 name | High accuracy | High accuracy | RTD, low accuracy | Coriolis, high accuracy | GE PTX | GE PTX
3 | Option 3 accuracy | 1.3792 | 2.7576 | 0.5 | 0.1%
4 | Option 4 name | Ultra high accuracy | Ultra high accuracy | RTD, high accuracy | Coriolis, ultra high accuracy | Endress&Hauser 10 bar | Endress&Hauser 40 bar
4 | Option 4 accuracy | 0.5 | 2 | 0.1 | 0.05%